FOR IMMEDIATE RELEASE		    					     9:45am

September 26, 2025

Media Contacts:

Stephen Jones / M: 248-202-6166/ stephen@vvkagency.com

Stefanie Burns / C: 313-269-0587 / stefanie.burns@glwater.org

UPDATE 2: GLWA CONTINUING TO ISOLATE THE BREAK ON 42-INCH WATER TRANSMISSION MAIN ON 14 MILE ROAD; WATER SERVICE RESTORED FOR ALL COMMUNITIES

- Crews worked throughout the night to pressurize the 24-inch pipe and restore water service to all affected communities

- GLWA water trucks have been dispatched to provide additional water resources to various communities and businesses

DETROIT – The Great Lakes Water Authority (GLWA) continues its response to the 42-inch water transmission main break on 14 Mile Road (west of M5) affecting Commerce, Walled Lake, Wixom, and parts of Novi.

GLWA Field Services crews worked throughout the night to install a 16-inch insertion valve, allowing better isolation of the 24-inch pipe from the broken 42-inch. Crews successfully pressurized the 24-inch, returning service to all affected communities early this morning. The team will remain onsite around the clock until the repair on the 42-inch pipe has been completed.

Water service remains impacted for some residents in the surrounding area. The boil water alert for the City of Wixom has been lifted. The boil water advisories for Walled Lake and parts of Novi remain in effect until further notice. GLWA has dispatched water trucks to provide additional water resources to affected communities and businesses.

GLWA is asking residents in the affected communities to conserve water resources over the weekend to limit any additional stress on the system. The team continues to coordinate closely with community partners and will share daily updates as more information becomes available.

###

About the Great Lakes Water Authority (GLWA)

The Great Lakes Water Authority (GLWA) is the provider-of-choice for drinking water services to nearly 40 percent, and efficient and effective wastewater services to nearly 30 percent, of Michigan’s population. With the Great Lakes as source water, GLWA is uniquely positioned to provide those it serves with water of unquestionable quality. GLWA also has the capacity to extend its services beyond its 88 member partner communities. As part of its commitment to water affordability, the Authority offers a Water Residential Assistance Program to assist low-income households in participating member communities throughout the system. GLWA’s board includes one representative each from Oakland, Macomb, and Wayne counties, two representatives from the city of Detroit, and one appointed by the Michigan governor to represent member partner communities outside of the tri-county area.