FOR IMMEDIATE RELEASE		    					       1:00pm

October 3, 2025

Media Contacts:

Stephen Jones / M: 248-202-6166/ stephen@vvkagency.com

Stefanie Burns / C: 313-269-0587 / stefanie.burns@glwater.org

UPDATE 9: BOIL WATER ADVISORY LIFTED FOR CITY OF WIXOM; RESTORATION OF 42-INCH BREAK SITE TO BEGIN TODAY

DETROIT – The boil water advisory for the city of Wixom, that was reissued on Monday, September 29, was lifted this morning following two rounds of negative bacteria testing. The previous boil water advisories for the cities of Walled Lake and Commerce were lifted yesterday afternoon. GLWA has provided checklists for residents and businesses to follow after a boil water advisory has ended.

Yesterday, field crews continued backfill of the 42-inch main break site and installed a manway structure.  The installation of the new 36-inch valve continues on 14 Mile Road, just west of Novi Road. Today, the team plans to continue backfilling the break site and  the 36-inch valve installation. The inspection crew will wrap up the pipe inspection today. Crews are looking to begin site restoration today and GLWA is working with the Road Commission for Oakland County (RCOC) to plan for road restoration in the coming weeks. The GLWA team expects normal operations to resume in 4-9 days.

Because the system is in a vulnerable state, GLWA is once again asking water users in the affected communities to limit water usage throughout this emergency to eliminate any additional stress on the system, even after a boil water advisory has been lifted. The team continues to coordinate closely with community partners and will share updates as information becomes available.

###

About the Great Lakes Water Authority (GLWA)

The Great Lakes Water Authority (GLWA) is the provider-of-choice for drinking water services to nearly 40 percent, and efficient and effective wastewater services to nearly 30 percent, of Michigan’s population. With the Great Lakes as source water, GLWA is uniquely positioned to provide those it serves with water of unquestionable quality. GLWA also has the capacity to extend its services beyond its 88 member partner communities. As part of its commitment to water affordability, the Authority offers a Water Residential Assistance Program to assist low-income households in participating member communities throughout the system. GLWA’s

board includes one representative each from Oakland, Macomb, and Wayne counties, two representatives from the city of Detroit, and one appointed by the Michigan governor to represent member partner communities outside of the tri-county area.